## Sheet1
Dual-energy x-ray absorptiometry table describes how the assay was performed - from Subject Preparation to data generation
OSD Number:
Sample Name | ProtocolREF | Subject Health Status | Pre-test Protocol | Fasting Required? | Bladder Emptying? | Subject Anesthesia | Anesthesia Monitoring | Positioning of Subject | Positioning Aids | Study Timepoint | ProtocolREF | Scanner | Scanner Software Version | Animal/Species Scan Mode | Scanner Calibration | QC Phantom Reference Values | Scan Sites | Scanner Settings | Scan Resolution | Scan Duration | Unit | Positioning Accuracy | Size of Imaging Area | Location of ROIs | Pixel Size | Unit | BMD Precision | Unit | Fat Mass Precision | Unit | Lean Tissue Mass Precision | Unit | X-ray Tube Generator Description | Kilovolt Peak | Unit | Tube Current | Unit | Radiation Dose | Unit | Radiation Dose Management | Operator/Technician ID | Reproducibility Protocols | ProtocolREF | Analysis Software | Region of Interest Definition Method | Segmentation/Thresholding Method | Artifact Exclusion | Statistical Parameters | Interpretation Standards | Data Quality Assessment Method | Assay Name | Raw Data File
Sample names in the sample table and assay table should match exactly | Subject Preparation | e.g. prior fractures, osteoporosis treatment | e.g. Subject avoids calcium supplements for 24 hours prior | e.g. Yes, No | e.g. Yes, No | e.g. intraperitoneal injection of 0.2 mL of a mixture of ketamine and xylazine | e.g. Respiration rate monitored throughout scan; max duration 5 min under anesthesia | e.g. Custom positioner for animal, immobilization, disposable to reduce contamination | e.g. Standardized foam pads | e.g. Pre-flight (L-30), In-flight, Return (R+0), Terminal | Experimental Protocol | e.g. Lunar Piximus or Piximus 2, Lunar Corporation | e.g. PIXImus 2.10 | e.g. Mouse mode, Rat mode | e.g. Daily phantom calibration; follow manufacturer QC protocols | e.g. BMD 0.0605 g/cm2 acceptable range per manufacturer QC log | e.g. Lumbar spine (L1-L4) | e.g. Standard scan mode | e.g. 1 mm spatial resolution | e.g. ~3 minutes per subject |  | e.g. Use standardized positioning protocol (hip rotated inward 15 degrees) | e.g. 80 x 65 mm | e.g. Total femur and humerus | e.g. 0.18 x 0.18 mm |  | e.g. SD 0.075 mg/cm2 |  | e.g. 16.7% |  | e.g. 2.5% |  | e.g. Stationary anode etc. | e.g. 100 kVp, 140kVp |  | e.g. 0.5 mA |  | e.g. 0.3 mRem |  | e.g. Record and maintain within safety guidelines | e.g. Initials or ID of technician performing scan | e.g. Repeat scans on same machine; same technician if possible | Data Acquisition and Analysis | e.g. Lunar DPX, software version 3.2 | e.g. Manually drawn ROI following anatomical landmarks | e.g. Automated bone-edge detection threshold | e.g. Exclude vertebrae with artifacts, fractures, or deformities | e.g. coefficient of variation, least significant change | e.g. WHO classification (osteopenia: T-score -1 to -2.5; osteoporosis: < -2.5) | e.g. Visual review for motion artifact and positioning consistency | Assay Name | Raw Data File
| Please describe the Subject Preparation protocol here. | [9 empty] | Please describe the Experimental Protocol protocol here. | [31 empty] | Please describe the Data Acquisition and Analysis protocol here.