## Sheet1
Confocal table describes how the assay was performed - from Sample Preparation Protocol to data generation
OSD Number:
Sample Name | ProtocolREF | Fixation Method | Fixative | Fixative Concentration | Unit | Fixation Duration | Unit | Fixation Temperature | Unit | Fixative Buffer | Cryoprotection Method | Embedding Medium | Embedding Temperature | Unit | Sectioning Instrument | Sectioning Temperature | Unit | Sectioning Orientation | Sectioning Blade Type | Section Thickness | Unit | Section Mounting Type | Slide Type | Slide Adhesion Method | Floating Medium | Post-Sectioning Storage Temperature | Unit | Post-Sectioning Storage Duration Before Staining | Unit | ProtocolREF | Culture Substrate During Imaging | Medium Used During Imaging | Serum and Concentration Present During Imaging | Cell Viability Control Method | Imaging Chamber Humidity | Unit | Imaging Chamber Temperature | Unit | Imaging Chamber CO2 Concentration | Unit | Imaging Duration | Unit | Time-Lapse Interval | Unit | Light Exposure Control Methods | Photobleaching Correction Methods | Fluorescence Recovery After Photobleaching (FRAP) Performed? | Fluorescence Lifetime Imaging Microscopy (FLIM) Used? | ProtocolREF | Antigen Retrieval Method | Antigen Retrieval Solution | Antigen Retrieval Temperature | Unit | Antigen Retrieval Duration | Unit | Blocking Buffer | Blocking Concentration | Unit | Blocking Duration | Unit | Was Permeabilization Done Before or After Blocking? | Permeabilization Method | Primary Antibody Target | Primary Antibody Dilution | Unit | Primary Antibody Company and Product Number | Secondary Antibody Target | Secondary Antibody Company and Product Number | Secondary Antibody Dilution | Unit | Detection Type | Secondary Antibody Fluorophore | Fluorophore Excitation Wavelength | Unit | Fluorophore Emission Wavelength | Unit | Type of Multi-Channel Imaging Used | Sequential or Simultaneous Imaging? | Type of Spectral Unmixing Used | ProtocolREF | Microscope Type | Microscope Manufacturer | Microscope Model | Objective Lens | Immersion Medium | Stage Type | Imaging Room Temperature | Unit | Illumination Type | Excitation Source | Laser Type | Laser Scanning Mode | Laser Power | Unit | Scan Speed | Unit | Pinhole Size | Unit | Detector Type | Acquisition Software | Acquisition Mode | Z-Stack Interval | Unit | Number of Z-Slices | Exposure Time | Unit | Image Resolution | Unit | Frame Rate | Unit | Number of Samples per Slide | Slide Orientation | Coverslip Applied? | Number of Positions per Sample | Grid/Array Layout | Multi-Well Plate Format | Number of Fields per Well | Was Stage Automated or Manual | Was Tiling or Stitching Used for Images? | Analysis Software | Assay Name | Raw Data File
Sample names in the sample table and assay table should match exactly | Sample Preparation Protocol | e.g. Crosslinking, Precipitating | e.g. paraformaldehyde | e.g. 4% |  | e.g. 15min |  | e.g. room temperature |  | e.g. PBS | e.g. 30% sucrose | e.g. OCT, paraffin | e.g. -80C, 60C |  | e.g. Cryostat, Microtome, Vibratome | e.g. -20C, 4C, room temp |  | e.g. transverse, logitudinal, sagittal, coronal, oblique | e.g. steel, glass, diamond | e.g. 40 um |  | e.g. Adhered, Floating | e.g. Superfrost Plus, Poly-L-Lysine | e.g. Air-dried, baked at 60C, adhesive-coated | e.g. PBS, Tris | e.g. -20C, 4C |  | e.g. 7 days |  | Live Cell Imaging Protocol | e.g. multi-well plate, glass bottom dish | e.g. live-cell imaging buffer | e.g. 10% FBS | e.g. propidium iodide, DRAQ7 | e.g. 50% |  | e.g. 37C |  | e.g. 5% |  | e.g. 24 hours |  | e.g. 5 min |  | e.g. low-intensity | e.g. rolling shutter correction, FRAP | e.g. Yes, No | e.g. Yes, No | Staining and Detection Protocol | e.g. Heat-induced (HIER) or enzymatic (EIER) | e.g. citrate, EDTA | e.g. 95 C |  | e.g. 20 min |  | e.g. BSA, Normal Goat Serum, Superblock | e.g. 3% |  | e.g. 30 min |  | e.g. Before, After | e.g. 0.1% Triton X-100 | e.g. Rabbit anti-GFAP | e.g. 0.1% |  | e.g. MA5-12023 Invitrogen | e.g. Goat anti-Rabbit | e.g. A11008, Invitrogen | e.g. 0.1% |  | e.g. Fluorescence, Chromogenic | e.g. Alexa Fluor 488 | e.g. 405 nm (Hoechst), 561 nm (Phalloidin-TRITC) |  | e.g. 461 nm (Hoechst), 575 nm (Phalloidin-TRITC) |  | e.g. 4 channel | e.g. Sequential, Simultaneous | e.g. Linear | Microscopy and Imaging Parameters Protocol | e.g. Laser Scanning Confocal Microscope | e.g. Nikon | e.g. SIM A1 | e.g. 20×/0.75 NA, 40×/1.3 NA Oil | e.g. Air, Water, Oil, Glycerol | e.g. Fixed, Motorized | e.g. 25C |  | e.g. laser | e.g. 488 nm laser | e.g. multiline argon laser | e.g. Unidirectional, bidirectional | e.g. 5% |  | e.g. 400 Hz |  | e.g. 1 AU (airy unit) |  | e.g. PMT, GaAsP, Hybrid | e.g. Zeiss, Zen | e.g. Widefield, Z-stack, Time-lapse | e.g. 0.5 um |  | e.g. 10, 50, 100 | e.g. 50 ms |  | e.g. 2048 x 2048 px |  | e.g. 1 fps |  | e.g. 15 | e.g. Standard, Inverted, Rotated | e.g. Yes, No | e.g. 4, 16, 100 | e.g. 6x6 | e.g. 96-well | e.g. 1, 4, 16 | e.g. automated, manual | e.g. yes, no | e.g. ImageJ | Assay Name | Raw Data File
| Please describe the Sample Preparation Protocol protocol here. | [28 empty] | Please describe the Live Cell Imaging Protocol protocol here. | [18 empty] | Please describe the Staining and Detection Protocol protocol here. | [30 empty] | Please describe the Microscopy and Imaging Parameters Protocol protocol here.