## Sheet1
Transmission Electron Microscopy table describes how the assay was performed - from Sample Preparation to data generation
OSD Number:
Sample Name | ProtocolREF | Fixation Method | Primary Fixative | Primary Fixative Concentration | Unit | Primary Fixation Duration | Unit | Primary Fixation Temperature | Unit | Primary Fixative Buffer | Secondary Fixative | Secondary Fixative Concentration | Unit | Secondary Fixation Duration | Unit | Secondary Fixation Temperature | Unit | Secondary Fixative Buffer | Tertiary Fixative | Tertiary Fixative Concentration | Unit | Tertiary Fixation Duration | Unit | Tertiary Fixation Temperature | Unit | Tertiary Fixative Buffer | Rinsing Buffer | Rinsing Duration | Unit | Number of Rinses | Dehydration Method | Dehydration Concentration Steps | Dehydration Duration | Unit | Transition Solvent | Resin Type | Resin Infiltration Duration | Unit | Polymerization Temperature | Unit | Polymerization Duration | Unit | Sectioning Instrument | Sectioning Temperature | Unit | Sectioning Orientation | Sectioning Blade Type | Diamond Knife Angle | Unit | Section Thickness | Unit | Section Mounting Type | Grid Type | Grid Mesh Size | Grid Coating | Grid Treatment | Post-Sectioning Storage Temperature | Unit | Post-Sectioning Storage Duration Before Staining | Unit | ProtocolREF | Positive Stain Used | Positive Staining Duration | Unit | Negative Stain used | Negative Stain Duration | Unit | Contrast Enhancement Method | Counterstaining Reagent | Counterstaining Duration | Unit | Washing Solution | ProtocolREF | Electron Microscope Model | Accelerating Voltage | Unit | Electron Source Type | Beam Current | Unit | Imaging Mode | Cryo-TEM Mode Used? | Low-Dose Mode Used? | Stage Type | Cryo-Stage Used? | Cryo-Stage Model | Cryo Holder Model | Cryo-Stage Temperature | Unit | Cooling System | Vitrification Method | Ice Contamination Control Method | Grid Clipping Used? | Objective Lens Aperture Size | Unit | Condenser Aperture Size | Unit | Spot Size | Defocus Value | Unit | Magnification | Camera Type | Camera Model | Detector Type | Frame Averaging | Exposure Time | Unit | Energy Filter Used? | Energy Filter Type | Zero-Loss Energy Window | Unit | STEM Mode Used? | STEM Detector Type | ProtocolREF | Tilt Range | Tilt Step Size | Unit | Fiducial Markers Used? | Fiducial Marker Type | Fiducial Marker Size | Unit | Tomography Reconstruction Software | ProtocolREF | Energy Dispersive X-ray Spectroscopy (EDX) Used? | EDX Detector Type | Electron Energy Loss Spectroscopy Used? | Electron Energy Loss Spectroscopy Energy Resolution | Unit | Electron Energy Loss Spectroscopy Detector Model | ProtocolREF | Image Analysis Software | Image File Format | Image Resolution | Unit | Contrast Adjustment Method | Noise Reduction Method | 3D Reconstruction Software | Assay Name | Raw Data File
Sample names in the sample table and assay table should match exactly | Sample Preparation | e.g. Crosslinking, Precipitating | e.g. Glutaraldehyde | e.g. 4% |  | e.g. 15min |  | e.g. room temperature |  | e.g. Cacodylate, HEPES | e.g. Osmium Tetroxide | e.g. 4% |  | e.g. 20 min, overnight |  | e.g. 23 degrees celsius |  | e.g. Cacodylate, HEPES | e.g. Uranyl Acetate | e.g. 0.5% |  | e.g. 20 min or overnight |  | e.g. 23 degrees celsius |  | e.g. Cacodylate, HEPES | e.g. Cacodylate, HEPES | e.g. 10 minutes |  | e.g. 3 | e.g. Ethanol series, Acetone series | e.g. 25% 50% 75% 95% 100% 100% | e.g. 30 minutes |  | e.g. Propylene Oxide, Acetone | e.g. Quetol 651, Epoxy (Epon, Spurr’s), Acrylic (LR White) | e.g. 6 hours |  | e.g. 60 degrees Celsius |  | e.g. 24 hours |  | e.g. Leica EM UC7, ultramicrotome | e.g. -20C, 4C, room temp |  | e.g. transverse, logitudinal, sagittal, coronal, oblique | e.g. steel, glass, diamond | e.g. 45 degrees |  | e.g. 40 um |  | e.g. Adhered, Floating | e.g. Copper, Nickel, Gold | e.g. 200, 300 | e.g. Formvar, Carbon | e.g. Glow Discharge, Plasma Cleaning | e.g. -20C, 4C |  | e.g. 7 days |  | Staining and Contrast Enhancement | e.g. Uranyl Acetate, Lead Citrate | e.g. 10 minutes |  | e.g. Uranyl Acetate | e.g. 10 minutes |  | e.g. En bloc staining, Post-section staining | e.g. Reynolds Lead Citrate, Uranyl Acetate | e.g. 5 minutes |  | e.g. DI Water, Sodium Hydroxide | Microscopy and Imaging Parameters | e.g. JEOL 2100 | e.g. 80 kV |  | e.g. Tungsten Filament, Field Emission Gun | e.g. 10 uA |  | e.g. Brightfield, Darkfield, High-Resolution TEM | e.g. Yes, No | e.g. Yes, No | e.g. Single Tilt, Double Tilt | e.g. Yes, No | e.g. Quorum PP3010T, Leica EM CryoCLEM | e.g. Gatan 626, Oxford CT1500 | e.g. -160C |  | e.g. liquid nitrogen, liquid helium, Peltier cooling | e.g. Plunge Freezing, High-Pressure Freezing | e.g. sublimation, vacuum drying | e.g. Yes, No | e.g. 10 um |  | e.g. 50 um |  | e.g. 1, 3, 5 | e.g. -1 um |  | e.g. 10,000x | e.g. CCD, CMOS, Direct Electron Detector | e.g. Gatan OneView, ThermoFisher Ceta | e.g. BF/DF, EELS, EDX | e.g. 1, 4, 16 frames | e.g. 1 second |  | e.g. Yes, No | e.g. zero-loss, slit width | e.g. 20 eV |  | e.g. Yes, No | e.g. HAADF, BF, ADF | Tomography and 3D Imaging | e.g. -60 degree to +60 degree | e.g. 1 degree |  | e.g. Yes, no | e.g. Gold Nanoparticles | e.g. 10 nm |  | e.g. IMOD, Amira | Spectroscopy and Elemental Analysis | e.g. Yes, No | e.g. Silicon Drift Detector (SDD) | e.g. Yes, No | e.g. 0.3 eV, 1 eV |  | e.g. Gatan GIF Quantum | Data Processing and Analysis | e.g. ImageJ, Fiji, DigitalMicrograph | e.g. TIFF, DM3, MRC | e.g. 4096 × 4096 px |  | e.g. Histogram Equalization, Gamma Correction | e.g. Gaussian Smoothing, Median Filter | e.g. IMOD, Avizo | Assay Name | Raw Data File
| Please describe the Sample Preparation protocol here. | [59 empty] | Please describe the Staining and Contrast Enhancement protocol here. | [11 empty] | Please describe the Microscopy and Imaging Parameters protocol here. | [39 empty] | Please describe the Tomography and 3D Imaging protocol here. | [8 empty] | Please describe the Spectroscopy and Elemental Analysis protocol here. | [6 empty] | Please describe the Data Processing and Analysis protocol here.