## Sheet1
Electroretinography table describes how the assay was performed - from Subject Preparation to data generation
OSD Number:
Sample Name | ProtocolREF | Describe Any Closely Preceding Imaging Techniques | Interval Since Last Preceding Imaging Technique | Unit | Type of Adaptation | Adaptation Duration Prior To Trial Start | Unit | Describe Fixation Point Used | Phase of Light Cycle Assay Performed | Clock Time of Assay Start | Duration Subject Has Been Maintained on Current Light Cycle | Unit | Did Subject Light Cycle Remain Consistent Throughout All Recording Sessions | Describe Any Changes in Subject Light Cycle | Describe Cases for Censorship or Subject Exclusion from Trials | Type of Anesthesia | Anesthesia Dosage at Induction | Unit | Anesthesia Dosage for Maintenance | Unit | Method of Anesthesia Administration | Total Duration of Anesthesia | Unit | Pupil Dilation Method | Pupil Dilation Concentration | Unit | ProtocolREF | Testing Room Temperature | Unit | Testing Room Humidity | Unit | Describe Any Ambient Light Source(s) Visible To Subject | Characterize Sound and Noise Environment of Testing Room | Noise Intensity in Testing Room | Unit | Describe Any External Cues Present During Testing | ProtocolREF | ERG Recording Type | ERG Device Model and Manufacturer | Sequential or Simultaneous Recording | Type of Recording Electrode | Recording Electrode Position | Reference Electrode Position | Common Electrode Position | Conductive Solution(s) Used | Amplifier Gain | Unit | Stimulus Type | Stimulus Source | Stimulus Calibration Method | Stimulus Wavelength | Stimulus Strength | Unit | Stimulus Duration | Unit | Stimulus Frequency | Unit | Interstimulus Interval | Unit | Recording Duration | Unit | ProtocolREF | Sampling Rate | Unit | Describe Any Reference Values Used | Signal Filtering Methods | Noise Reduction Methods | Number of Sweeps per Stimulus Condition | Describe Artifact Handling | Waveform Components | Amplitude Measurement Method | Latency Measurement Method | Normalization Method | Baseline Recording Duration Prior To Stimulus | Unit | Number of Replicates | Name of Software Data Processor | Statistical Analysis Platform | Assay Name | Raw Data File
Sample names in the sample table and assay table should match exactly | Subject Preparation | e.g. OCT, opthalmoscopy | e.g. 30 minutes |  | e.g. Dark | e.g. 12 hours |  | e.g. black bullseye | e.g. Light | e.g. 22:41 | e.g. 1 week |  | e.g. Yes,No | e.g. reversed one week prior | e.g. animals exhibited signs of stress | e.g. isofluorane | e.g. 2-3% |  | e.g. 1.5% |  | e.g. anesthetizing chamber | e.g. |  | e.g. tropicamide | e.g. 1% |  | Testing Room Environment | e.g. 25C |  | e.g. 50% |  | e.g. overhead fluorescent, red lamp | e.g. white noise generator | e.g. 180 db |  | e.g. multiple technicians, other experiments being performed | Electroretinography Procedure | e.g. Scotopic, Photopic | e.g. Ganzfeld stimulator | e.g. Sequential | e.g. Active, Contact Lens | e.g. corneal | e.g. ear | e.g. forehead | e.g. artificial tears | e.g. 10,000x, 80 dB |  | e.g. Flicker, Single | e.g. LED, xenon flash | e.g. photometer | e.g. visible white | e.g. 1.0 log cd·s/m² (candela-seconds per meter squared)(log units) |  | e.g. 5 ms |  | e.g. 30 Hz |  | e.g. 2 s |  | e.g. 300 ms |  | Data Acquisition and Analysis | e.g. 1200 Hz |  | e.g. lab-specific, electrode-specific, standard curve | e.g. low-pass filter at 300 Hz | e.g. averaging | e.g. 3 | e.g. eye blinking corrections | e.g. a-wave, b-wave, oscillatory potentials | e.g. baseline-to-peak, peak-to-peak | e.g. Peak latency | e.g. Peak amplitude, Pre-stimulus Baseline | e.g. 20 ms |  | e.g. 3 | e.g. Custom MATLAB software | e.g. MedCalc v18.11 (Ostend, Belgium) | Assay Name | Raw Data File
| Please describe the Subject Preparation protocol here. | [25 empty] | Please describe the Testing Room Environment protocol here. | [9 empty] | Please describe the Electroretinography Procedure protocol here. | [24 empty] | Please describe the Data Acquisition and Analysis protocol here.